# Converted Document: PADLI MANOHAR JI.pdf

# Page 1

| 1 | 1 Earthwork in excavation for foundation of B- 1 structure complete with all lift, dewatering, 1.1.4 shoring and shuttering etc. including refillingoftrenchesin250mmlayer,ramming, watering and disposal of surplus soll within a lead of 1000 meters, as per drawing and technicalEarth Inexcavation forfoundation of specification. [MORTH Specification: Clause 304]. in ordinary soll [MORTH Specification clause 301]BYMECHANICAL MEANS Depth upto 3m | 618.58 | Cum | 57 | P Cum | 35259.00 |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | Earthwork In excavation for foundation of B-1 structure complete with all lift, dewatering, 1.3.2 shoring and shuttering etc. including refillingoftrenchesin250mmlayer,ramming, watering and disposal of surplus soil within a lead of 1000 meters, as per drawing and technicalEarth in excavation forfoundation of specification. [MORTH Specification Clause 304].In Ordinary/Soft rock (not requiring blasting) [MORTH Specification: Clause 3011 BY MECHANICAL MEANS | 572.21 | Cum | 83 | P Cum | 47493.02 |
| 3 | Earthwork in excavation for foundation of B-1 structure complete with all lift, dewatering. 1.4.2 shoring and shuttering etc. including refillingoftrenchesin250mmlayer,ramming, watering and disposal of surplus soil within a lead of 1000 meters, as per drawing and technicalEarth in excavation forfoundation of specification. [MORTH Specification: Clause 304]. In Hard Rock [MORTH Specification : Clause 301, 302, 303]. Blasting Prohibited | 1088.31 | Cum | 670 | P Cum | 729167.70 |
| 4 | Structural cement concrete (Design Mix) in open foundations, with form work, at level. Cement concrete for plain/reinforced concrete in open foundations as per drawing and technical specification. [MORTH Specification: Section 1700 & 1500). With 20mm nominal size aggregate P.C.C. M-20 grade | 114.44 | Cum | 4017 | P Cum | 459709.50 |
| 5 | Structural cement concrete (Design Mix) B-2 in open foundations, with form work, at 6.6.6 any level. Cement plain/reinforced concrete for concrete in open foundations as per drawing and technical specification. [MORTH Specification : Section 1700 & 1500]. With 20mm nominal size aggregate R.C.C. M-25 grade | 961.61 | Cum | 4341 | P Cum | 4174341.41 |

BRIDGE AT CHAINAGE (PADLI GUJARESHWAR)
ABSTRACT OF COST
S.No. Particulars. Quantity Rate Unit Amount
1 1 Earthwork in excavation for foundation of B- 618.58 Cum 57 P Cum 35259.00
1 structure complete with all lift, dewatering,
1.1.4 shoring and shuttering etc. including
refillingoftrenchesin250mmlayer,ramming,
watering and disposal of surplus soll within a
lead of 1000 meters, as per drawing and
technicalEarth Inexcavation forfoundation of
specification. [MORTH Specification: Clause
304]. in ordinary soll [MORTH Specification
clause 301]BYMECHANICAL MEANS Depth
upto 3m
2 Earthwork In excavation for foundation of B-1 572.21 Cum 83 P Cum 47493.02
structure complete with all lift, dewatering,
1.3.2 shoring and shuttering etc. including
refillingoftrenchesin250mmlayer,ramming,
watering and disposal of surplus soil within a
lead of 1000 meters, as per drawing and
technicalEarth in excavation forfoundation of
specification. [MORTH Specification Clause
304].In Ordinary/Soft rock (not requiring
blasting) [MORTH Specification: Clause 3011
BY MECHANICAL MEANS
3 Earthwork in excavation for foundation of B-1 1088.31 Cum 670 P Cum 729167.70
structure complete with all lift, dewatering.
1.4.2 shoring and shuttering etc. including
refillingoftrenchesin250mmlayer,ramming,
watering and disposal of surplus soil within a
lead of 1000 meters, as per drawing and
technicalEarth in excavation forfoundation of
specification. [MORTH Specification: Clause
304]. In Hard Rock [MORTH Specification :
Clause 301, 302, 303]. Blasting Prohibited
4 Structural cement concrete (Design Mix) in 114.44 Cum 4017 P Cum 459709.50
open foundations, with form work, at level.
Cement concrete for plain/reinforced concrete
in open foundations as per drawing and
technical specification. [MORTH Specification:
Section 1700 & 1500).
With 20mm nominal size aggregate
P.C.C. M-20 grade
5 Structural cement concrete (Design Mix) 961.61 Cum 4341 P Cum 4174341.41
B-2 in open foundations, with form work, at
6.6.6 any level. Cement plain/reinforced
concrete for concrete in open foundations as
per drawing and technical specification.
[MORTH Specification : Section 1700 & 1500].
With 20mm nominal size aggregate
R.C.C. M-25 grade

# Page 2

| 6 | Providing and laying steel reinforcement at any level in foundation complete as per 13.1 drawing and technical specification. [MORTH Specification: Section 1600]. HYSD bar reinforcement | 64.55 | T | 88567 | P tonne | 5716734.15 |
| --- | --- | --- | --- | --- | --- | --- |
| 7 | Structural cement concrete (Design Mix) in open foundations, with form work, at level. Cement concrete for plain/reinforced concrete in open foundations as per drawing and technical specification. [MORTH Specification: Section 1700 & 1500). With 20mm nominal size aggregate P.C.C. M-15 grade | 272.80 | Cum | 3038 | P Cum | 828766.40 |
| 8 | Structural cement concrete for plain concrete/ reinforced concrete for substructure at any level, complete as per [MORTH Specification: Section 1500 & 1700]. drawing and technical specification.Design mixconcrete PCC M-25 Upto 5 mtr. Height | 372.09 | cum | 4319 | P Cum | 1607050.23 |
| 9 | Steel reinforcement in substructure HYSD reinforcement | 57.16 | T | 88737 | P tonne | 5072118.18 |
| 10 | Providing A.C. pipe Weep holes 150mm B-3 dia in Masonry/plain Concrete/Reinforced 13 Concrete abutment, wing wall/return wall complete as per drawing and technical specification. [MORTH Specification : Clause 2205]. | 408.50 | R mtr | 114 | P RM | 46569.00 |
| 11 | Providing and and filling in foundation Btrenches, and back filling behind abutments, wing walls, return wall etc., and below pipe bed in layers not exceeding 150mm thick including watering and compacting (IRC-78) | 10.11 | cum | 745 | P Cum | 7534.19 |
| 12 | Filter medium behind abutment, wing wall and return wall, complete as per drawing andtechnicalspecification.(SameasR7.20.3) [MORTH Specification: Clause 2504]. | 419.13 | cum | 560 | P Cum | 234712.80 |
| 13 | Structural RCC/PSC upto a height of 5 mtr. for reinforcedconcreteinsuperstructurecomplete including steel formwork, scaffolding etc. As perdrawingandtechnicalspecification.Design mix concrete. [MORTH Specification : 1500 & 1700].RCC M-30 grade Solid slab superstructure at any level in superstructure complete as per drawing and technical Specification. [MORTH Specification: Section 1600] | 297.09 | cum | 6307 | P Cum | 1873752.94 |
| 14 | Steel reinforcement in Superstructure HYSD reinforcement | 27.06 | T | 89654 | P tonne | 2426395.86 |

S.No. Particulars. Quantity Rate Unit Amount
6 Providing and laying steel reinforcement at any 64.55 T 88567 P tonne 5716734.15
level in foundation complete as per 13.1
drawing and technical specification. [MORTH
Specification: Section 1600]. HYSD bar
reinforcement
7 Structural cement concrete (Design Mix) in 272.80 Cum 3038 P Cum 828766.40
open foundations, with form work, at level.
Cement concrete for plain/reinforced concrete
in open foundations as per drawing and
technical specification. [MORTH Specification:
Section 1700 & 1500).
With 20mm nominal size aggregate
P.C.C. M-15 grade
8 Structural cement concrete for plain concrete/ 372.09 cum 4319 P Cum 1607050.23
reinforced concrete for substructure at any
level, complete as per [MORTH Specification:
Section 1500 & 1700]. drawing and technical
specification.Design mixconcrete PCC M-25
Upto 5 mtr. Height
9 Steel reinforcement in substructure 57.16 T 88737 P tonne 5072118.18
HYSD reinforcement
10 Providing A.C. pipe Weep holes 150mm B-3 408.50 R mtr 114 P RM 46569.00
dia in Masonry/plain Concrete/Reinforced 13
Concrete abutment, wing wall/return wall
complete as per drawing and technical
specification. [MORTH Specification : Clause
2205].
11 Providing and and filling in foundation 10.11 cum 745 P Cum 7534.19
Btrenches, and back filling behind abutments,
wing walls, return wall etc., and below pipe
bed in layers not exceeding 150mm thick
including watering and compacting (IRC-78)
12 Filter medium behind abutment, wing wall 419.13 cum 560 P Cum 234712.80
and return wall, complete as per drawing
andtechnicalspecification.(SameasR7.20.3)
[MORTH Specification: Clause 2504].
13 Structural RCC/PSC upto a height of 5 mtr. for 297.09 cum 6307 P Cum 1873752.94
reinforcedconcreteinsuperstructurecomplete
including steel formwork, scaffolding etc. As
perdrawingandtechnicalspecification.Design
mix concrete. [MORTH Specification : 1500 &
1700].RCC M-30 grade Solid slab
superstructure at any level in superstructure
complete as per drawing and technical
Specification. [MORTH Specification: Section
1600]
14 Steel reinforcement in Superstructure 27.06 T 89654 P tonne 2426395.86
HYSD reinforcement

# Page 3

| 15 | Reinforced cementconcrete wearing coat B-4 M-30 grade at any level including formwork and reinforcement complete as per drawing and technical Specification. MORTH Specification: Clause 2204, 1500 & 1700]. | 43.56 | Cum | 7720 | P Cum | 336302.50 |
| --- | --- | --- | --- | --- | --- | --- |
| 16 | Providing and Laying PCC M-15 grade B-4 leveling course below approach slab 15 complete as per drawing and technical specifications. [MORTH specification: 2700] | 14.22 | cum | 2471 | P Cum | 35137.62 |
| 17 | Reinforced cement concrete M-30 grade B-4 approach slab including reinforcement 16 and formwork complete as per drawing and technicalspecifications.[MoRTHspecification: 1500, 1600, 1700, 2704] | 21.33 | cum | 7073 | P Cum | 150867.09 |
| 18 | Providing, laying and fixing of Filler Joint Providing and fixing 2mm thick Corrugated Copper Plate in expansion joint complete as per drawing and technical specifications in MORTH specification: clause 2605. | 31.88 | Sqm | 3673 | P Sqm | 117076.88 |

S.No. Particulars. Quantity Rate Unit Amount
15 Reinforced cementconcrete wearing coat B-4 43.56 Cum 7720 P Cum 336302.50
M-30 grade at any level including formwork
and reinforcement complete as per drawing
and technical Specification. MORTH
Specification: Clause 2204, 1500 & 1700].
16 Providing and Laying PCC M-15 grade B-4 14.22 cum 2471 P Cum 35137.62
leveling course below approach slab 15
complete as per drawing and technical
specifications. [MORTH specification: 2700]
17 Reinforced cement concrete M-30 grade B-4 21.33 cum 7073 P Cum 150867.09
approach slab including reinforcement 16 and
formwork complete as per drawing and
technicalspecifications.[MoRTHspecification:
1500, 1600, 1700, 2704]
18 Providing, laying and fixing of Filler Joint 31.88 Sqm 3673 P Sqm 117076.88
Providing and fixing 2mm thick Corrugated
Copper Plate in expansion joint complete as
per drawing and technical specifications in
MORTH specification: clause 2605.
Total Rs. 18959455.58

# Page 4

BRIDGE AT CHAINAGE (PADLI GUJARESHWAR)
DETAILS OF MEASUREMENTS
S.N. Particulars Nos. Length Breadth Height Qty. Units
1 Earthwork in excavation for foundation of
structure complete with all lift, dewatering,
1.1.4 shoring and shuttering etc. including
refilling of trenches in 250 mm layer,
ramming, watering and disposal of surplus
soll within a lead of 1000 meters, as per
drawing and technical Earth In excavation
for foundation of specification. [MORTH
Specification: Clause 304]. in ordinary soll
[MORTH Specification clause 301] BY
MECHANICAL MEANS Depth upto 3m
Abutment A1 1 x 8.50 x 8.80 x 1.50 = 112.20 Cum
Piers 1 x 5.90 x 13.10 x 1.65 = 127.53 Cum
1 x 5.90 x 13.10 x 1.65 = 127.53 Cum
1 x 5.90 x 13.10 x 1.80 = 139.12 Cum
Abutment A2 1 x 8.50 x 8.80 x 1.50 = 112.20 Cum
Total Qty. 618.58 Cum
2 Earthwork Inexcavation for foundation of B-
1structurecompletewithalllift,dewatering,
1.3.2 shoring and shuttering etc. including
refilling of trenches in 250 mm layer,
ramming, watering and disposal of surplus
soil within a lead of 1000 meters, as per
drawing and technical Earth in excavation
for foundation of specification. [MORTH
Specification Clause 304].In Ordinary/Soft
rock (not requiring blasting) [MORTH
Specification: Clause 3011 BY
MECHANICAL MEANS
Abutment A1 1 x 8.50 x 8.80 x 1.50 = 112.20 Cum
Piers 1 x 5.90 x 13.10 x 1.50 = 115.94 Cum
1 x 5.90 x 13.10 x 1.50 = 115.94 Cum
1 x 5.90 x 13.10 x 1.50 = 115.94 Cum
Abutment A2 1 x 8.50 x 8.80 x 1.50 = 112.20 Cum
Total Qty. 572.21 Cum
3 Earthwork in excavation for foundation of B-
1structurecompletewithalllift,dewatering.
1.4.2 shoring and shuttering etc. including
refilling of trenches in 250 mm layer,
ramming, watering and disposal of surplus
soil within a lead of 1000 meters, as per
drawing and technical Earth in excavation
for foundation of specification. [MORTH
Specification: Clause 304]. In Hard Rock
[MORTH Specification : Clause 301, 302,
303]. Blasting Prohibited
Abutment A1 1 x 8.50 x 8.80 x 2.25 = 168.30 Cum
Piers 1 x 5.90 x 13.10 x 3.00 = 231.87 Cum

# Page 5

S.N. Particulars Nos. Length Breadth Height Qty. Units
1 x 5.90 x 13.10 x 3.15 = 243.46 Cum
1 x 5.90 x 13.10 x 2.85 = 220.28 Cum
Abutment A2 1 x 8.50 x 8.80 x 3.00 = 224.40 Cum
Total Qty. 1088.31 Cum
4 Structural cementconcrete (Design Mix) in
open foundations, with form work, at level.
Cement concrete for plain/reinforced
concrete in open foundations as per
drawing and technical specification.
[MORTH Specification:
Section 1700 & 1500).
With 20mm nominal size aggregate
P.C.C. M-20 grade
Abutment A1 1 x 8.50 x 8.80 x 0.30 = 22.44 Cum
Piers 1 x 5.90 x 13.10 x 0.30 = 23.19 Cum
1 x 5.90 x 13.10 x 0.30 = 23.19 Cum
1 x 5.90 x 13.10 x 0.30 = 23.19 Cum
Abutment A2 1 x 8.50 x 8.80 x 0.30 = 22.44 Cum
Total Qty. 114.44 Cum
5 Structural cement concrete (Design Mix)
B-2 in open foundations, with form work, at
6.6.6 any level. Cement plain/reinforced
concrete for concrete in open foundations
as per drawing and technical specification.
[MORTH Specification : Section 1700 &
1500].
With 20mm nominal size aggregate
R.C.C. M-25 grade
Abutment A1 1 x 8.20 x 8.50 x 0.85 = 59.25 Cum
1 x 4.75 x 8.50 x 1.80 = 72.68 Cum
Piers 1 x 5.60 x 12.80 x 3.10 = 222.21 Cum
1 x 5.60 x 12.80 x 3.25 = 232.96 Cum
1 x 5.60 x 12.80 x 3.30 = 236.54 Cum
Abutment A2 1 x 8.20 x 8.50 x 0.85 = 59.25 Cum
1 x 4.75 x 8.50 x 1.95 = 78.73 Cum
Total Qty. 961.61 Cum
6 Providing and laying steel reinforcement at
any level in foundation complete as per
13.1 drawing and technical specification.
[MORTH Specification: Section 1600].
HYSD bar reinforcement
Abutment A1 & A2 2 x 11215 = 22430 Kg
Piers 3 x 14039 = 42117 Kg
Total Qty. 64547 Kg
64.55 MT

# Page 6

S.N. Particulars Nos. Length Breadth Height Qty. Units
7 Structural cementconcrete (Design Mix) in
open foundations, with form work, at level.
Cement concrete for plain/reinforced
concrete in open foundations as per
drawing and technical specification.
[MORTH Specification:
Section 1700 & 1500).
With 20mm nominal size aggregate
P.C.C. M-15 grade
Abutment A1 1 x 8.20 x 8.50 x 0.75 = 52.28 Cum
Piers 1 x 5.60 x 12.80 x 0.75 = 53.76 Cum
1 x 5.60 x 12.80 x 0.75 = 53.76 Cum
1 x 5.60 x 12.80 x 0.75 = 53.76 Cum
Abutment A2 1 x 8.20 x 8.50 x 0.85 = 59.25 Cum
Total Qty. 272.80 Cum
8 Structural cement concrete for plain
concrete/ reinforced concrete for
substructure at any level, complete as per
[MORTH Specification: Section 1500 &
1700]. drawing and technical specification.
Designmixconcrete PCCM-25Upto5mtr.
Height
Abutment A1 1 x 8.50 x 1.05 x 5.10 = 45.52 Cum
Return Wall 2 x 5.50 x 0.75 x 6.50 = 53.63 Cum
Abut Cap 1 x 8.80 x 0.90 x 0.40 = 3.17 Cum
Piers 1 x 5.60 x 12.80 x 0.75 = 53.76 Cum
1 x 5.60 x 12.80 x 0.75 = 53.76 Cum
1 x 5.60 x 12.80 x 0.75 = 53.76 Cum
Abutment A2 1 x 8.50 x 1.05 x 5.10 = 45.52 Cum
Return Wall 2 x 5.50 x 0.75 x 7.25 = 59.81 Cum
Abut Cap 1 x 8.80 x 0.90 x 0.40 = 3.17 Cum
Total Qty. 372.09 Cum
9 Steel reinforcement in substructure
HYSD reinforcement
Abutment A1 & A2 2 x 3624 = 7248 Kg
Piers 3 x 16637 = 49911 Kg
Total Qty. 57159 Kg
57.16 MT
10 Providing A.C. pipe Weep holes 150mm B-
3 dia in Masonry/plain Concrete/Reinforced
13Concreteabutment,wingwall/returnwall
complete as per drawing and technical
specification. [MORTH Specification :
Clause 2205].
Abutments 2 x 7 x 5.25 = 73.50 RM
2 x 7 x 4.50 = 63.00 RM
2 x 7 x 3.50 = 49.00 RM
2 x 7 x 2.50 = 35.00 RM
2 x 7 x 1.50 = 21.00 RM
Return Walls 4 x 5 x 3.50 = 70.00 RM
4 x 5 x 2.50 = 50.00 RM
4 x 5 x 1.50 = 30.00 RM
4 x 5 x 0.85 = 17.00 RM

# Page 7

S.N. Particulars Nos. Length Breadth Height Qty. Units
Total Qty. 408.50 RM
11 Providing and and filling in foundation
Btrenches, and back filling behind
abutments, wing walls, return wall etc., and
below pipe bed in layers not exceeding
150mm thick including watering and
compacting (IRC-78)
1 x 1.80 x 2.00 x 0.30 = 1.08 Cum
1 x 2.60 x 2.80 x 0.30 = 2.18 Cum
1 x 2.50 x 2.70 x 0.30 = 2.03 Cum
1 x 2.10 x 2.30 x 0.30 = 1.45 Cum
1 x 2.20 x 2.50 x 0.30 = 1.65 Cum
1 x 2.30 x 2.50 x 0.30 = 1.73 Cum
Total Qty. 10.11 Cum
12 Filter medium behind abutment, wing wall
and return wall, complete as per drawing
and technical specification. (Same as
R7.20.3) [MORTH Specification: Clause
2504].
Abut 2 x 7.90 x 3.10 x 4.50 = 220.41 Cum
Return 4 x 4.80 x 2.30 x 4.50 = 198.72 Cum
Total Qty. 419.13 Cum
13 StructuralRCC/PSCuptoaheightof5 mtr.
for reinforced concrete in superstructure
complete including steel formwork,
scaffolding etc. As per drawing and
technicalspecification.Designmixconcrete.
[MORTH Specification : 1500 & 1700].RCC
M-30gradeSolidslabsuperstructureatany
level in superstructure complete as per
drawing and technical Specification.
[MORTH Specification: Section 1600]
Slab 4 x 10.00 x 8.50 x 0.77 = 261.80 Cum
Ends 4 x 10.00 x 0.79 x 0.56 = 17.70 Cum
Kerb 2 x 51.00 x 0.75 x 0.23 = 17.60 Cum
Total Qty. 297.09 Cum
14 Steel reinforcement in Superstructure
HYSD reinforcement
AS PER DETAILS ENCLOSED FOR 4 27064 Kg 27.06 MT
SLABS
15 Reinforced cement concrete wearing coat B-
4 M-30 grade at any level including
formwork and reinforcement complete as
per drawing and technical Specification.
MORTH Specification: Clause 2204, 1500 &
1700].
1 x 51.25 x 8.50 x 0.10 = 43.56 Cum
Total Qty. 43.56 Cum
16 Providing and Laying PCC M-15 grade B-4
leveling course below approach slab 15
complete as per drawing and technical
specifications. [MORTH specification: 2700]
2 x 7.90 x 4.50 x 0.20 = 14.22 Cum
Total Qty. 14.22 Cum

# Page 8

S.N. Particulars Nos. Length Breadth Height Qty. Units
17 Reinforced cement concrete M-30 grade
approach slab including reinforcement 16
andformworkcompleteas perdrawing and
technical specifications. [MoRTH
specification: 1500, 1600, 1700, 2704]
2 x 7.90 x 4.50 x 0.30 = 21.33 Cum
Total Qty. 21.33 Cum
18 Providing, laying and fixing of Filler Joint
Providing and fixing 2mm thick Corrugated
Copper Plate in expansion joint complete as
per drawing and technical specifications in
MORTH specification: clause 2605.
5 x 8.50 x 0.75 = 31.88 Sq m
Total Qty. 31.88 Cum

# Page 9

| STRUCTUR SL | NO. OF UNITS | WIIGHT PER UNIT | TOTAL WEIGHT IN |
| --- | --- | --- | --- |
| PIER FOOTING | 3 | 14039 | 42117 |
| ABUTMENT FOOTING | 2 | 11215 | 22430 |
| PIER | 3 | 16637 | 49911 |
| ABUTMENT | 2 | 3624 | 7248 |
| DECK SLAB | 1 | 27064 | 27064 |
|  |  | TOTAL | 148770 |

STRUCTUR NO. OF WIIGHT TOTAL
SL UNITS PER UNIT WEIGHT IN
PIER 3 14039 42117
FOOTING
ABUTMENT 2 11215 22430
FOOTING
PIER 3 16637 49911
ABUTMENT 2 3624 7248
DECK SLAB 1 27064 27064
TOTAL 148770

# Page 10

| SCHEDULE OF REINFORCEMENT FOR ABUTMENT FOOTING |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TYPE OF BAR | SHAPE | LOCATION | DIREC TION | DIA OF BAR IN MM | SPACI NG IN MM | NO. OF BARS | LENGTH OF EACH BAR (M) | TOTAL LENG TH (M) | Unit Weight Kg/M | TOTAL WEIGHT KgS. |
| J |  | FOOTING BOTTOM | LONGI TUDIN AL | 25 | 125 | 68 | 8.90 | 605.2 | 3.86 | 2337 |
| K |  | FOOTING BOTTOM | TRAN SVER SE | 25 | 125 | 68 | 9.30 | 632.4 | 3.86 | 2442 |
| L |  | FOOTING TOP | LONGI TUDIN AL | 20 | 125 | 68 | 8.90 | 605.2 | 2.47 | 1495 |
| M |  | FOOTING TOP | TRAN SVER SE | 20 | 125 | 68 | 9.30 | 632.4 | 2.47 | 1563 |
| M |  | FOOTING STIRRUPS | TRAN SVER SE | 16 | 150 | 570 | 3.75 | 2138 | 1.58 | 3378 |
|  |  | TOTAL IN ONE FOOTING |  |  |  |  |  |  |  | 11215 |
| SCHEDULE OF REINFORCEMENT FOR PIER FOOTING |  |  |  |  |  |  |  |  |  |  |
| TYPE OF BAR | SHAPE | LOCATION | DIREC TION | DIA OF BAR IN MM | SPACI NG IN MM | NO. OF BARS | LENGTH OF EACH BAR (M) | TOTAL LENG TH (M) | Unit Weight Kg/M | TOTAL WEIGHT KgS. |
| J |  | FOOTING BOTTOM | LONGI TUDIN AL | 25 | 125 | 45 | 14.40 | 648 | 3.86 | 2502 |
| K |  | FOOTING BOTTOM | TRAN SVER SE | 25 | 125 | 103 | 9.30 | 957.9 | 3.86 | 3698 |
| L |  | FOOTING TOP | LONGI TUDIN AL | 20 | 125 | 45 | 14.40 | 648 | 2.47 | 1601 |

SCHEDULE OF REINFORCEMENT FOR ABUTMENT FOOTING
TYPE SHAPE LOCATION DIREC DIA SPACI NO. OF LENGTH OF TOTAL Unit Weight TOTAL
OF TION OF NG IN BARS EACH BAR Kg/M WEIGHT
BAR BAR MM (M) LENG KgS.
IN MM TH (M)
J FOOTING LONGI 25 125 68 8.90 605.2 3.86 2337
BOTTOM TUDIN
AL
K FOOTING TRAN 25 125 68 9.30 632.4 3.86 2442
BOTTOM SVER
SE
L FOOTING LONGI 20 125 68 8.90 605.2 2.47 1495
TOP TUDIN
AL
M FOOTING TRAN 20 125 68 9.30 632.4 2.47 1563
TOP SVER
SE
M FOOTING TRAN 16 150 570 3.75 2138 1.58 3378
STIRRUPS SVER
SE
TOTAL IN ONE FOOTING 11215
SCHEDULE OF REINFORCEMENT FOR PIER FOOTING
TYPE SHAPE LOCATION DIREC DIA SPACI NO. OF LENGTH OF TOTAL Unit Weight TOTAL
OF TION OF NG IN BARS EACH BAR Kg/M WEIGHT
BAR BAR MM (M) LENG KgS.
IN MM TH (M)
J FOOTING LONGI 25 125 45 14.40 648 3.86 2502
BOTTOM TUDIN
AL
K FOOTING TRAN 25 125 103 9.30 957.9 3.86 3698
BOTTOM SVER
SE
L FOOTING LONGI 20 125 45 14.40 648 2.47 1601
TOP TUDIN
AL

# Page 11

| M |  | FOOTING TOP | TRAN SVER SE | 20 | 125 | 103 | 9.30 | 957.9 | 2.47 | 2367 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| M |  | FOOTING STIRRUPS | TRAN SVER SE | 16 | 150 | 570 | 3.75 | 2138 | 1.58 | 3378 |
|  | overlaps |  |  | 25 |  | 45 | 2.08 | 93.6 | 3.86 | 362 |
|  | overlaps |  |  | 20 |  | 32 | 1.65 | 52.8 | 2.47 | 131 |
|  |  | TOTAL IN ONE FOOTING |  |  |  |  |  |  |  | 14039 |
| SCHEDULE OF REINFORCEMENT FOR PIER |  |  |  |  |  |  |  |  |  |  |
| TYPE OF BAR | SHAPE | LOCATION | DIREC TION | DIA OF BAR IN MM | SPACI NG IN MM | NO. OF BARS | LENGTH OF EACH BAR (M) | TOTAL LENG TH (M) | Unit Weight Kg/M | TOTAL WEIGHT KgS. |
| N |  | PIER FLARED BOTTOM | VERTI CAL | 25 | 125 | 136 | 7.51 | 1021 | 3.86 | 3941 |
| O |  | PIER STRAIGHT | VERTI CAL | 25 | 125 | 166 | 10.66 | 1770 | 3.86 | 6831 |
| P |  | PIER | LATER AL | 20 | 125 | 45 | 31.17 | 1403 | 2.47 | 3465 |
| Q |  | PIER FLARED BOTTOM | LATER AL | 20 | 125 | 5 | 37.34 | 186.7 | 2.47 | 462 |
| R |  | PIER | CLOS ED TIES | 16 | 150 | 540 | 1.63 | 877.5 | 1.58 | 1387 |

M FOOTING TRAN 20 125 103 9.30 957.9 2.47 2367
TOP SVER
SE
M FOOTING TRAN 16 150 570 3.75 2138 1.58 3378
STIRRUPS SVER
SE
overlaps 25 45 2.08 93.6 3.86 362
overlaps 20 32 1.65 52.8 2.47 131
TOTAL IN ONE FOOTING 14039
SCHEDULE OF REINFORCEMENT FOR PIER
TYPE SHAPE LOCATION DIREC DIA SPACI NO. OF LENGTH OF TOTAL Unit Weight TOTAL
OF TION OF NG IN BARS EACH BAR Kg/M WEIGHT
BAR BAR MM (M) LENG KgS.
IN MM TH (M)
N PIER VERTI 25 125 136 7.51 1021 3.86 3941
FLARED CAL
BOTTOM
O PIER VERTI 25 125 166 10.66 1770 3.86 6831
STRAIGHT CAL
P PIER LATER 20 125 45 31.17 1403 2.47 3465
AL
Q PIER LATER 20 125 5 37.34 186.7 2.47 462
FLARED AL
BOTTOM
R PIER CLOS 16 150 540 1.63 877.5 1.58 1387
ED
TIES

# Page 12

| S |  | PIER | OPEN TIES | 8 | EVERY 3 rd BAR BOTH WAYS | 1080 | 1.27 | 1376 | 0.40 | 551 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | TOTAL IN ONE PIER |  |  |  |  |  |  |  | 16637 |
| SCHEDULE OF REINFORCEMENT FOR ABUTMENT |  |  |  |  |  |  |  |  |  |  |
| TYPE OF BAR | SHAPE | LOCATION | DIREC TION | DIA OF BAR IN MM | SPACI NG IN MM | NO. OF BARS | LENGTH OF EACH BAR (M) | TOTAL LENG TH (M) | Unit Weight Kg/M | TOTAL WEIGHT KgS. |
| N | ABUTMENT FACE | SKIN - VERTICAL | VERTI CAL | 12 | 125 | 136 | 7.50 | 1020 | 0.89 | 908 |
| O |  | SKIN - HORIZONT AL | VERTI CAL | 12 | 125 | 166 | 8.50 | 1411 | 0.89 | 1256 |
| O | RETURN WALL FACE | SKIN - VERTICAL | VERTI CAL | 12 | 125 | 160 | 5.00 | 800 | 0.89 | 712 |
| P |  | SKIN - HORIZONT AL | LATER AL | 12 | 125 | 160 | 5.25 | 840 | 0.89 | 748 |
|  |  | TOTAL IN ONE ABUTMENT' |  |  |  |  |  |  |  | 3624 |

S PIER OPEN 8 EVERY 1080 1.27 1376 0.40 551
TIES 3 rd
BAR
BOTH
WAYS
TOTAL IN ONE PIER 16637
SCHEDULE OF REINFORCEMENT FOR ABUTMENT
TYPE SHAPE LOCATION DIREC DIA SPACI NO. OF LENGTH OF TOTAL Unit Weight TOTAL
OF TION OF NG IN BARS EACH BAR Kg/M WEIGHT
BAR BAR MM (M) LENG KgS.
IN MM TH (M)
N ABUTMENT FACE SKIN - VERTI 12 125 136 7.50 1020 0.89 908
VERTICAL CAL
O SKIN - VERTI 12 125 166 8.50 1411 0.89 1256
HORIZONT CAL
AL
O RETURN WALL FACE SKIN - VERTI 12 125 160 5.00 800 0.89 712
VERTICAL CAL
P SKIN - LATER 12 125 160 5.25 840 0.89 748
HORIZONT AL
AL
TOTAL IN ONE ABUTMENT' 3624

# Page 13

| SCHEDULE OF REINFORCEMENT FOR PIER CAP |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TYPE OF BAR | SHAPE | LOCATION | DIREC TION | DIA OF BAR IN MM | SPACI NG IN MM | NO. OF BARS | LENGTH OF EACH BAR (M) | TOTAL LENG TH (M) | Unit Weig ht Kg/M | TOTAL WEIGHT KgS. |
| a |  | VER STIRRUPS IN LONG DIRECTION | LONGI TUDIN AL | 20 |  | 5 | 36.97 | 231.1 | 2.47 | 571 |
| s1 |  | STIRRUPS IN SHORT DIRECTION | STRIR RUPS | 12 | 300 | 61 | 5.35 | 407.9 | 0.89 | 364 |
| s2 |  | PROJECTE D PORTION | STRIR RUPS | 12 | 100 | 30 | 4.75 | 178.1 | 0.89 | 159 |
| h1 |  | HORIZONTA L STIRRUPS IN LONG DIRECTION | STRIR RUPS | 12 | 240 | 3 | 38.75 | 145.3 | 0.89 | 130 |
|  |  | TOTAL IN ONE PIER CAP |  |  |  |  |  |  |  | 1224 |
| SCHEDULE OF REINFORCEMENT FOR ABUTMENTR CAP |  |  |  |  |  |  |  |  |  |  |
| TYPE OF BAR | SHAPE | LOCATION | DIREC TION | DIA OF BAR IN MM | SPACI NG IN MM | NO. OF BARS | LENGTH OF EACH BAR (M) | TOTAL LENG TH (M) | Unit Weig ht Kg/M | TOTAL WEIGHT KgS. |
| a |  | BOTTOM | LONGI TUDIN AL | 16 |  | 8 | 18.40 | 184 | 1.58 | 291 |
| b |  | TOP | LONGI TUDIN AL | 16 |  | 8 | 18.40 | 184 | 1.58 | 291 |
| c |  |  | STRIR RUPS | 12 | 300 | 61 | 2.55 | 194.4 | 0.89 | 174 |
| d |  | SIDE FACE |  | 12 |  | 4 | 19.70 | 98.5 | 0.89 | 88 |
|  |  | TOTAL IN ONE ABUTMENT CAP |  |  |  |  |  |  |  | 844 |

SCHEDULE OF REINFORCEMENT FOR PIER CAP
TYPE SHAPE LOCATION DIREC DIA SPACI NO. OF LENGTH OF TOTAL Unit TOTAL
OF TION OF NG IN BARS EACH BAR Weig WEIGHT
BAR BAR MM (M) LENG ht KgS.
IN MM TH (M) Kg/M
a VER LONGI 20 5 36.97 231.1 2.47 571
STIRRUPS TUDIN
IN LONG AL
DIRECTION
s1 STIRRUPS STRIR 12 300 61 5.35 407.9 0.89 364
IN SHORT RUPS
DIRECTION
s2 PROJECTE STRIR 12 100 30 4.75 178.1 0.89 159
D PORTION RUPS
h1 HORIZONTA STRIR 12 240 3 38.75 145.3 0.89 130
L RUPS
STIRRUPS
IN LONG
DIRECTION
TOTAL IN ONE PIER CAP 1224
SCHEDULE OF REINFORCEMENT FOR ABUTMENTR CAP
TYPE SHAPE LOCATION DIREC DIA SPACI NO. OF LENGTH OF TOTAL Unit TOTAL
OF TION OF NG IN BARS EACH BAR Weig WEIGHT
BAR BAR MM (M) LENG ht KgS.
IN MM TH (M) Kg/M
a BOTTOM LONGI 16 8 18.40 184 1.58 291
TUDIN
AL
b TOP LONGI 16 8 18.40 184 1.58 291
TUDIN
AL
c STRIR 12 300 61 2.55 194.4 0.89 174
RUPS
d SIDE FACE 12 4 19.70 98.5 0.89 88
TOTAL IN ONE ABUTMENT CAP 844

# Page 14

|  |  |  |  |  |  |  | DRG. NO.SD/114 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SL.No. | LOCATION | BAR MKD | SHAPE | DIA (m m) | SPACING (m m) | LENGTH (m m) | NOS | TOTAL LENGTH(m) | WEIGHT (Kg.) |
| 1 | SLAB BOTTOM ALONG- X | a1 |  | 25 | 125 | 11150 | 67 | 747.05 | 2914 |
| 2 | SLAB BOTTOM ALONG- Y | a2 |  | 12 | 115 | 8830 | 94 | 830.02 | 748 |
| 3 | SLAB SIDE ALONG-Y | a3 |  | 10 |  | 11900 | 2 | 23.80 | 17 |
| 4 | SLAB TOP ALONG- X | a4 |  | 10 | 125 | 11240 | 64 | 719.36 | 504 |
| 5 | SLAB TOP ALONG- Y | a5 |  | 10 | 125 | 9000 | 84 | 756.00 | 530 |
| 10 | KERB- BOTOM | b1 |  | 12 | - | 11500 | 8 | 92.00 | 83 |
| 11 | KERB- TOP | b2 |  | 12 | - | 11530 | 8 | 92.24 | 84 |
| 11 | KERB- SIDES | b3 |  | 10 | - | 10840 | 8 | 86.72 | 61 |
| 12 | KERB- STIRRUPS | b4 |  | 10 | 200 | 2870 | 76 | 218.12 | 153 |
| 13 | Wearing Course X |  |  | 12 | 150 | 7900 | 80 | 632.00 | 569 |
| 14 | Wearing Course y |  |  | 12 | 150 | 10000 | 67 | 670.00 | 603 |
|  |  |  |  |  |  |  |  |  | 6266 |
|  |  |  | qty for 4 slabs |  |  | 4 | x | 6266.00 | 25064 |
|  | OVERLAPS |  |  |  |  |  |  |  |  |
|  | SLAB BOTTOM ALONG- X | a1 | SLAB 1,2,3 AND 4 (28+26+30+32) | 25 |  | 2050 | 116 | 237.80 | 928 |
|  | SLAB BOTTOM ALONG- Y | a2 | SLAB 1,2,3 AND 4 (31+33+27+33) | 12 |  | 9600 | 124 | 1190.40 | 1072 |
|  |  |  |  |  |  |  | TOTAL |  | 27064 |

SCHEDULE OF REINFORCEMENT (PER SPAN) DRG. NO.SD/114
SL.No. LOCATION BAR MKD SHAPE DIA SPACING LENGTH NOS TOTAL WEIGHT
(m m) (m m) (m m) LENGTH(m) (Kg.)
1 SLAB BOTTOM a1 25 125 11150 67 747.05 2914
ALONG- X
2 SLAB BOTTOM a2 12 115 8830 94 830.02 748
ALONG- Y
3 SLAB SIDE ALONG-Y a3 10 11900 2 23.80 17
4 SLAB TOP a4 10 125 11240 64 719.36 504
ALONG- X
5 SLAB TOP a5 10 125 9000 84 756.00 530
ALONG- Y
10 KERB- b1 12 - 11500 8 92.00 83
BOTOM
11 KERB- b2 12 - 11530 8 92.24 84
TOP
11 KERB- b3 10 - 10840 8 86.72 61
SIDES
12 KERB- b4 10 200 2870 76 218.12 153
STIRRUPS
13 Wearing Course X 12 150 7900 80 632.00 569
14 Wearing Course y 12 150 10000 67 670.00 603
6266
qty for 4 slabs 4 x 6266.00 25064
OVERLAPS
SLAB BOTTOM a1 SLAB 1,2,3 AND 4 (28+26+30+32) 25 2050 116 237.80 928
ALONG- X
SLAB BOTTOM a2 SLAB 1,2,3 AND 4 (31+33+27+33) 12 9600 124 1190.40 1072
ALONG- Y
TOTAL 27064

# Page 15

# Page 16