# OCR CONVERTED: bill bridge only.pdf

Converted using Optical Character Recognition (OCR)

# Page 1

1 ---

BRIDGE AT CHAINAGE (PADLI GUJARESHWAR)
ABSTRACT OF COST

S.No Particulars. | Quantity | Rate | Unit | Amount
1 Earthwork in excavation for foundation of B-
1 structure complete with all lift, dewatering,
1.1.4 shoring and shuttering etc. including
refilling of trenches in 250 mm layer, ramming,
watering and disposal of surplus soll within a
lead of 1000 meters, as per drawing and
technical Earth In excavation for foundation of
specification. [MORTH Specification: Clause
304]. in ordinary soll [MORTH Specification
clause 301] BY MECHANICAL MEANS Depth
upto 3m

Earthwork In excavation for foundation of B-1
structure complete with all lift, dewatering,
1.3.2 shoring and shuttering etc. including
refilling of trenches in 250 mm layer, ramming,
watering and disposal of surplus soil within a
lead of 1000 meters, as per drawing and
technical Earth in excavation for foundation of
specification. [MORTH Specification Clause
304].In Ordinary/Soft rock (not requiring
blasting) [MORTH Specification: Clause 3011
BY MECHANICAL MEANS

Quantity

618. |

Rate Unit Amount
35259.00

47493.02

Earthwork in excavation for foundation of B-1
structure complete with all lift, dewatering.
1.4.2 shoring and shuttering etc. including

refilling of trenches in 250 mm layer, ramming,
watering and disposal of surplus soil within a
lead of 1000 meters, as per drawing and
technical Earth in excavation for foundation of
specification. [MORTH Specification: Clause
304]. In Hard Rock [MORTH Specification :
Clause 301, 302, 303]. Blasting Prohibited

Structural cement concrete (Design Mix) in
open foundations, with form work, at level.
Cement concrete for plain/reinforced concrete
in open foundations as per drawing and
technical specification. [MORTH Specification:
Section 1700 & 1500).

With 20mm nominal size aggregate

P.C.C. M-20 grade

Structural cement concrete (Design Mix)

B-2 in open foundations, with form work, at
6.6.6 any level. Cement plain/reinforced
concrete for concrete in open foundations as
per drawing and technical specification.
[MORTH Specification : Section 1700 & 1500].
With 20mm nominal size aggregate

R.C.C. M-25 grade

572.21| Cum
1088.31] Cum
|
|

729167.70

4017 459709.50

4174341.41

# Page 2

2 ---

S.No ———=@Particulars. = —S—S—S~=CS Quantity, = Rate | sUnit. = Amount Quantity Rate Unit Amount
Providing and laying steel reinforcement at any 64.55 88567 |P tonne 5716734.15
level in foundation complete as per 13.1
drawing and technical specification. [MORTH
Specification: Section 1600]. HYSD_ bar
reinforcement
Structural cement concrete (Design Mix) in 272.80] Cum 3038 P Cum 828766.40
open foundations, with form work, at level.
Cement concrete for plain/reinforced concrete
in open foundations as per drawing and
technical specification. [MORTH Specification:
Section 1700 & 1500).
With 20mm nominal size aggregate
P.C.C. M-15 grade
Structural cement concrete for plain concrete/ 372.09 4319 P Cum 1607050.23
reinforced concrete for substructure at any
level, complete as per [MORTH Specification:
Section 1500 & 1700]. drawing and technical
specification. Design mix concrete PCC M-25
Upto 5 mtr. Height
Steel reinforcement in substructure 57.16 88737 |P tonne 5072118.18
HYSD reinforcement

Providing A.C. pipe Weep holes 150mm B-3 408.50} R mtr 46569.00
dia in Masonry/plain Concrete/Reinforced 13
Concrete abutment, wing wall/return § wall
complete as per drawing and _ technical
specification. [MORTH Specification : Clause
2205].
Providing and and ffilling in foundation 10.11 P Cum 7534.19
Btrenches, and back filling behind abutments,
wing walls, return wall etc., and below pipe
bed in layers not exceeding 150mm thick
including watering and compacting (IRC-78)
Filter medium behind abutment, wing wall 419.13 P Cum 234712.80
and return wall, complete as per drawing
and technical specification. (Same as R7.20.3)
[MORTH Specification: Clause 2504].
13 |Structural RCC/PSC upto a height of 5 mtr. for 297.09 6307 P Cum 1873752.94

reinforced concrete in superstructure complete
including steel formwork, scaffolding etc. As
per drawing and technical specification.Design
mix concrete. [MORTH Specification : 1500 &
1700].RCC M-30 grade Solid = slab
superstructure at any level in superstructure
complete as per drawing and _ technical
Specification. [MORTH Specification: Section
1600]

a 2426395.86

Steel reinforcement in Superstructure 27.06} T 89654 |P tonne
HYSD reinforcement

# Page 3

3 ---

S.No Particulars.

15 |Reinforced cement concrete wearing coat B-4
M-30 grade at any level including formwork

16

17

18

and reinforcement complete as per drawing
and technical Specification. MORTH
Specification: Clause 2204, 1500 & 1700].
Providing and Laying PCC M-15 grade B-4
leveling course below approach slab 15
complete as per drawing and _ technical
specifications. [MORTH specification: 2700]
Reinforced cement concrete M-30 grade B-4
approach slab including reinforcement 16 and
formwork complete as per drawing and
technical specifications. [MORTH specification:
1500, 1600, 1700, 2704]

Providing, laying and fixing of Filler Joint
Providing and fixing 2mm thick Corrugated
Copper Plate in expansion joint complete as
per drawing and technical specifications in
MORTH specification: clause 2605.

Quantity Rate Unit Amount
336302.50

35137.62

150867 .09

117076.88

Total Rs. 18959455.58

# Page 4

4 ---

BRIDGE AT CHAINAGE (PADLI GUJARESHWAR)
DETAILS OF MEASUREMENTS
S.N. Particulars Nos. Length Breadth Height Qty. Units
1 Earthwork in excavation for foundation of
structure complete with all lift, dewatering,
1.1.4 shoring and shuttering etc. including
refilling of trenches in 250 mm layer,
ramming, watering and disposal of surplus
soll within a lead of 1000 meters, as per
drawing and technical Earth In excavation
for foundation of specification. [MORTH
Specification: Clause 304]. in ordinary soll
[MORTH Specification clause 301] BY
MECHANICAL MEANS Depth upto 3m

Abutment A1 1 Xx 8.50 x 8.80 x 1.50 = 112.20 Cum

Piers 1 X 5.90 x 13.10 x 1.65 = 127.53 Cum
1 Xx 5.90 x 13.10 x 1.65 = 127.53 Cum
1 X 5.90 x 13.10 x 1.80 = 139.12 Cum

Abutment A2 1 x 8.50 x 8.80 x 1.50 = 112.20 Cum

2 Earthwork In excavation for foundation of B-

1 structure complete with all lift, dewatering,

1.3.2 shoring and shuttering etc. including

refilling of trenches in 250 mm layer,

ramming, watering and disposal of surplus

soil within a lead of 1000 meters, as per

drawing and technical Earth in excavation

for foundation of specification. [MORTH

Specification Clause 304].In Ordinary/Soft

rock (not requiring blasting) [MORTH

Specification: Clause 3011 BY

MECHANICAL MEANS

Abutment A1 1 Xx 8.50 x 8.80 x 1.50 = 112.20 Cum

Piers 1 X 5.90 x 13.10 x 1.50 = 115.94 Cum
1 X 5.90 x 13.10 x 1.50 = 115.94 Cum
1 Xx 5.90 x 13.10 x 1.50 = 115.94 Cum

Abutment A2 1 x 8.50 x 8.80 x 1.50 = 112.20 Cum

3 Earthwork in excavation for foundation of B-

1 structure complete with all lift, dewatering.

1.4.2 shoring and shuttering etc. including

refilling of trenches in 250 mm layer,

ramming, watering and disposal of surplus

soil within a lead of 1000 meters, as per

drawing and technical Earth in excavation

for foundation of specification. [MORTH

Specification: Clause 304]. In Hard Rock

[MORTH Specification : Clause 301, 302,

303]. Blasting Prohibited

Abutment A1 1 Xx 8.50 x 8.80 x 2.25 = 168.30 Cum

Piers 1 X 5.90 x 13.10 x 3.00 = 231.87 Cum

# Page 5

5 ---

Particulars Nos. Length Breadth Height Qty. Units

1 X 5.90 x 13.10 x 3.15 = 243.46 Cum
1 x 5.90 x 13.10 x 2.85 = 220.28 Cum

Abutment A2 1 Xx 8.50 x 8.80 x 3.00 = 224.40 Cum

Structural cement concrete (Design Mix) in

open foundations, with form work, at level.

Cement concrete for plain/reinforced

concrete in open foundations as_ per

drawing and_ technical specification.

[MORTH Specification:

Section 1700 & 1500).

With 20mm nominal size aggregate

P.C.C. M-20 grade

Abutment A1 1 Xx 8.50 x 8.80 x 0.30 = 22.44 Cum

Piers 1 X 5.90 x 13.10 x 0.30 = 23.19 Cum
1 Xx 5.90 x 13.10 x 0.30 = 23.19 Cum
1 X 5.90 x 13.10 x 0.30 = 23.19 Cum

Abutment A2 1 x 8.50 x 8.80 x 0.30 = 22.44 Cum

Structural cement concrete (Design Mix)

B-2 in open foundations, with form work, at

6.6.6 any level. Cement plain/reinforced

concrete for concrete in open foundations

as per drawing and technical specification.

[MORTH Specification : Section 1700 &

1500].

With 20mm nominal size aggregate

R.C.C. M-25 grade

Abutment A1 1 Xx 8.20 x 8.50 x 0.85 = 59.25 Cum
1 X 4.75 x 8.50 x 1.80 = 72.68 Cum

Piers 1 X 5.60 x 12.80 x 3.10 = 222.21 Cum
1 Xx 5.60 x 12.80 x 3.25 = 232.96 Cum
1 X 5.60 x 12.80 x 3.30 = 236.54 Cum

Abutment A2 1 X 8.20 x 8.50 x 0.85 = 59.25 Cum
1 X 4.75 x 8.50 x 1.95 = 78.73 Cum

Providing and laying steel reinforcement at

any level in foundation complete as per

13.1 drawing and technical specification.

[MORTH_ Specification: Section 1600].

HYSD bar reinforcement

Abutment A1 & A2 2 Xx 11215 = 22430 Kg

Piers 3 X 14039 = 42117 Kg

64.55 MT

# Page 6

6 ---

S.N.
7

Particulars Nos. Length Breadth Height Qty. Units

Structural cement concrete (Design Mix) in

open foundations, with form work, at level.

Cement concrete for plain/reinforced

concrete in open foundations as_ per

drawing and_ technical specification.

[MORTH Specification:

Section 1700 & 1500).

With 20mm nominal size aggregate

P.C.C. M-15 grade

Abutment A1 1 Xx 8.20 x 8.50 x 0.75 = 52.28 Cum

Piers 1 X 5.60 x 12.80 x 0.75 = 53.76 Cum
1 Xx 5.60 x 12.80 x 0.75 = 53.76 Cum
1 X 5.60 x 12.80 x 0.75 = 53.76 Cum

Abutment A2 1 x 8.20 x 8.50 x 0.85 = 59.25 Cum

Structural cement concrete for plain

concrete/ reinforced concrete for

substructure at any level, complete as per

[MORTH Specification: Section 1500 &

1700]. drawing and technical specification.

Design mix concrete PCC M-25 Upto 5 mtr.

Height

Abutment A1 1 Xx 8.50 x 1.05 x 5.10 = 45.52 Cum

Return Wall 2 Xx 5.50 x 0.75 x 6.50 = 53.63 Cum

Abut Cap 1 X 8.80 x 0.90 x 0.40 = 3.17 Cum

Piers 1 X 5.60 x 12.80 x 0.75 = 53.76 Cum
1 X 5.60 x 12.80 x 0.75 = 53.76 Cum
1 Xx 5.60 x 12.80 x 0.75 = 53.76 Cum

Abutment A2 1 Xx 8.50 x 1.05 x 5.10 = 45.52 Cum

Return Wall 2 Xx 5.50 x 0.75 x 7.25 = 59.81 Cum

Abut Cap 1 Xx 8.80 x 0.90 x 0.40 = 3.17 Cum

Steel reinforcement in substructure

HYSD reinforcement

Abutment A1 & A2 2 Xx 3624 = 7248 Kg

Piers 3 X 16637 = 49911 Kg

57.16 MT

Providing A.C. pipe Weep holes 150mm B-

3 dia in Masonry/plain Concrete/Reinforced

13 Concrete abutment, wing wall/return wall

complete as per drawing and _ technical

specification. [MORTH Specification

Clause 2205].

Abutments 2 x 7 Xx 5.25 = 73.50 RM
2 x 7 X 4.50 63.00 RM
2 x 7 X 3.50 49.00 RM
2 x 7 X 2.50 = 35.00 RM
2 x 7 X 1.50 = 21.00 RM

Return Walls 4 x 5 Xx 3.50 = 70.00 RM
4 x 5 X 2.50 50.00 RM
4 x 5 X 1.50 30.00 RM
4 x 5 X 0.85 = 17.00 RM

# Page 7

7 ---

S.N.

11

Particulars Nos.

Providing and and ffilling in foundation
Btrenches, and back filling behind

abutments, wing walls, return wall etc., and
below pipe bed in layers not exceeding
150mm_ thick including watering and

compacting (IRC-78)

oe ee Ce ee
x KX KX KK XK

Filter medium behind abutment, wing wall
and return wall, complete as per drawing
and technical specification. (Same as
R7.20.3) [MORTH Specification: Clause
2504].

Abut

Return 4 Xx

NO
x<

Structural RCC/PSC upto a height of 5 mtr.
for reinforced concrete in superstructure
complete including steel formwork,
scaffolding etc. As per drawing and
technical specification.Design mix concrete.
[MORTH Specification : 1500 & 1700].RCC
M-30 grade Solid slab superstructure at any
level in superstructure complete as per
drawing and technical Specification.
[MORTH Specification: Section 1600]

Slab 4 Xx
Ends 4 xX
Kerb 2 x

Steel reinforcement in Superstructure

HYSD reinforcement

AS PER DETAILS ENCLOSED FOR 4
SLABS

Reinforced cement concrete wearing coat B-
4 M-30 grade at any level including
formwork and reinforcement complete as
per drawing and technical Specification.
MORTH Specification: Clause 2204, 1500 &
1700].

Providing and Laying PCC M-15 grade B-4
leveling course below approach slab 15
complete as per drawing and _ technical
specifications. [MORTH specification: 2700]
2 x

Length

Breadth Height Qty. Units
Total Qty. 408.50 RM
1.80 x 2.00 x 0.30 = 1.08 Cum
2.60 x 2.80 x 0.30 = 2.18 Cum
2.50 x 2.70 x 0.30 = 2.03 Cum
2.10 x 2.30 x 0.30 = 1.45 Cum
2.20 X 2.50 x 0.30 = 1.65 Cum
2.30 x 2.50 x 0.30 = 1.73 Cum
Total Qty. 10.11 Cum
7.90 x 3.10 x 450 = 220.41 Cum
4.80 x 2.30 x 4.50 = 198.72 Cum
Total Qty. 419.13 Cum |
10.00 x 8.50 x 0.77 = 261.80 Cum
10.00 x 0.79 x 0.56 = 17.70 Cum
51.00 x 0.75 x 0.23 = 17.60 Cum
Total Qty. 297.09 Cum
27064 Kg 27.06 MT
51.25 x 8.50 x 0.10 = 43.56 Cum
Total Qty. 43.56 Cum
7.90 x 450 x 0.20 = 14.22 Cum

Total Qty. 14.22 Cum

# Page 8

8 ---

S.N.
17

Particulars
Reinforced cement concrete M-30 grade
approach slab including reinforcement 16
and formwork complete as per drawing and
technical specifications. [MoRTH
specification: 1500, 1600, 1700, 2704]

Providing, laying and fixing of Filler Joint
Providing and fixing 2mm thick Corrugated
Copper Plate in expansion joint complete as
per drawing and technical specifications in
MORTH specification: clause 2605.

Nos.

xX

xX

Length Breadth Height Qty. Units

7.90 x 450 x 0.30 = 21.33 Cum

Total Qty. 21.33 Cum

8.50x 0.75 = 31.88 Sqm

Total Qty. 31.88 Cum